Gary Westfall
Gary Westfall [mailto:kon_gee@hotmail.com]
Westminster VT  802-463-1995

Copreci install May/4/10

Fire pit Pan is isolated from lower airspace chamber so the Copreci / Orifice valve draws outside air from below the fire. The pan was filled with sand up to the bottom of the ring being careful not to get sand into the ring holes. Aquatic Glassel Fireglass brand fire glass was then added covering the ring by about ¼” to ½” . Fire pit was then burned for 1-1/2 hours. The fire seems to run soot free but spotty carbon/soot build up on the glass did occur. Also out intent is to put volcanic rocks in the center of the fire pit on top of the fire glass but soot builds up rather quickly on the rocks. I think we are 90-95% of the way to getting this thing to run right.

[image: image1.jpg]



[image: image2.jpg]



[image: image3.jpg]



[image: image4.jpg]



[image: image5.jpg]B :
pr
¥ 4 A
- ’
B 5




To Burner





Gas in





Gasket Seal

















